CR00206

Symbol S01864

| Drawing: |  |  |
| --- | --- | --- |
| Earlier published in: | . | Not applicable |
| Name: | EN FR | Stand alone emergency switch equipment procédure étendue |
| Alternative names: Keywords: | EN EN | Breaking switch for distress situation, Emergency stop installations in buildings, switch, emergency, emergency stop |
| Applies: |  | S00151, S00174, S00466 |
| Application notes: |  | A00266, A00371 |
| Application class: Function class: Shape class: |  | Installation diagrams Q, S Circle, Lines, Circle segment |

| APPLICATION NOTE |  |  |  |
| --- | --- | --- | --- |
| Note identity number: | A00371 | Status: | Proposed |
| Note type: | General |  |  |

Note (EN):

Graphical symbol S01864 represent device (stand alone emergency switch equipment) in installation diagrams. Function of such device is illustrated in figure 1(see also S00258 Switch, emergency stop).

Figure 1. Circuit diagram presentation on symbol S01864

Applies to: S1864