## Sheet1
2009-01-20
ID | Original | Proposal | Secretary comments
A00003 | "n" shall be replaced by the total number of circuits. The figure shall be placed adjacent to the junction symbol. See IEC 61082-2. | "n" shall be replaced by the total number of circuits. The figure shall be placed adjacent to the junction symbol. See IEC 61082-1. | Done
A00033 | Remove an unnecessary <br> tag between "adjacent" and "to".
| Information on the conditions under which adjustibility is permitted may be shown adjacent to the symbol. | Information on the conditions under which adjustibility is permitted may be shown adjacent to the symbol. | Done
A00038 | Remove a space.
| S 01128. | S01128. | Done
A00041 | Add a <br> tag.
| Arrows pointing towards a symbol denote that the device symbolized will respond to incident radiation of the indicated type. Arrows pointing away from a symbol denote the emission of the indicated type of radiation by the device symbolized. Arrows located within a symbol denote an internal radiation source. | Arrows pointing towards a symbol denote that the device symbolized will respond to incident radiation of the indicated type. Arrows pointing away from a symbol denote the emission of the indicated type of radiation by the device symbolized. Arrows located within a symbol denote an internal radiation source. | Done
A00042 | In 60617 edition 2, There were additional illustrations for S00127. But, nothing in the database and there is no change request. This Application note is now maintaining to be more explicit by PT38. But, PT38 convenor recommend to add an illustration file A00042Illsutration.gif using S00127, S00128 and S00129 for those symbols. | A00042IllustrationEN.gif
Not accepted. When the database was set up it was agreed that such figures that was not necessary for the understanding of the application note should be excluded. This illustration was one of them.
A00042IllustrationFR.gif
Add a <br> tag.
| If source and target are shown, the arrows shall point from source to target. If there is a target but no specific source shown, the arrows shall point downwards and to the right. If there is no specific target shown, the arrows shall point upwards and to the right. | If source and target are shown, the arrows shall point from source to target. If there is a target but no specific source shown, the arrows shall point downwards and to the right. If there is no specific target shown, the arrows shall point upwards and to the right. See A00042IllustrationEN.gif. | Done
A00043 | Remove an unnecessary <br> tag between "augmented" and "by".
| If it is necessary to show the specific type of ionizing radiation, the symbol may be augmented by the addition of symbols or letters such as the following: | If it is necessary to show the specific type of ionizing radiation, the symbol may be augmented by the addition of symbols or letters such as the following: | Done
A00045 | Remove an unnecessary <br> tag between "adjusted to" and "the layout".
| The length of the link symbol may be adjusted to the layout of the diagram. | The length of the link symbol may be adjusted to the layout of the diagram. | Done
A00051 | Remove unnecessary <br> tags between "define" and "the status" and between "not" and "readily".
| Supplementary information may be given to define the status or the purpose of the earth if this is not readily apparent. | Supplementary information may be given to define the status or the purpose of the earth if this is not readily apparent. | Done
A00052 | Remove unnecessary <br> tags between "S00200" and "to indicate", "specified" and "protective" and "protection" and "against".
| This symbol may be used in place of symbol S00200 to indicate an earth connection having a specified protective function, for example for protection against electrical shock in case of a fault. | This symbol may be used in place of symbol S00200 to indicate an earth connection having a specified protective function, for example for protection against electrical shock in case of a fault. | Done
A00053 | Remove unnecessary <br> tags between "omitted" and "if", "omitted," and "the line" and "be" and "thicker".
| The hatching may be completely or partly omitted if there is no ambiguity. If the hatching is omitted, the line representing the frame or chassis shall be thicker as shown below: | The hatching may be completely or partly omitted if there is no ambiguity. If the hatching is omitted, the line representing the frame or chassis shall be thicker as shown below: | Done
| There is no link to an illustration file. The note points it out. This symbol is replaced by S01410 according to CR00019. But, It shoud be place to record the backbround. |  | See below
| The hatching may be completely or partly omitted if there is no ambiguity. If the hatching is omitted, the line representing the frame or chassis shall be thicker as shown below: | The hatching may be completely or partly omitted if there is no ambiguity. If the hatching is omitted, the line representing the frame or chassis shall be thicker, see A00053Illustration.gif below: | Refrence have been made to the new symbol S01410, which represents the actual symbol. Note that symbol S00203 is obsolete.
A00062 | Remove unnecessary <br> tags.
| This qualifying symbol may be applied to simple contact symbols to indicate position switches if there is no need to show the means of operating the contact. In complicated cases, where it is desireable to show the means of operation, one of the symbols 02-13-16 through 02-13-19 may be used instead. | This qualifying symbol may be applied to simple contact symbols to indicate position switches if there is no need to show the means of operating the contact. In complicated cases, where it is desireable to show the means of operation, one of the symbols S00182 (02-13-16) through S00185 (02-13-19) may be used instead. | Done
A00063 | Remove unnecessary <br> tags between "mechanically" and "operated" and between "shall be" and "placed".
| To depict a contact which is mechanically operated in both directions, this symbol shall be placed on both sides of the contact symbol. | To depict a contact which is mechanically operated in both directions, this symbol shall be placed on both sides of the contact symbol. | Done
A00064 | Remove an unnecessary <br> tag between "indicate" and "automatic".
| This symbol may be used to indicate automatic return. For example, see 07-06-01. | This symbol may be used to indicate automatic return. For example, see S00249 (07-06-01). | Done
A00065 | Remove an unnecessary <br> tag between "together with" and "qualifying".
| This symbol shall not be used together with qualifying symbols S00218, S00219, S00220 and S00221. In many cases, symbol S00150 may be used. | This symbol shall not be used together with qualifying symbols S00218, S00219, S00220 and S00221. In many cases, symbol S00150 may be used. | Done
A00066 | Remove unnecessary <br> tags.
| This symbol may be used to indicate non-automatic return function. When this convention is invoked, its use should be appropriately referenced. | This symbol may be used to indicate non-automatic return function. When this convention is invoked, its use should be appropriately referenced. | Done
A00067 | Remove un unnecessary <br> tags between "together with" and "qualifying".
| This symbol should not be used together with qualifying symbols S00218, S00219, S00220 and S00221. In many cases, symbol S00151 may be used. | This symbol should not be used together with qualifying symbols S00218, S00219, S00220 and S00221. In many cases, symbol S00151 may be used. | Done
A00068 | Remove unnecessary <br> tags.
| This symbol shall be used to indicate that the positive operation of a mechanical device in the direction shown is ensured or is required. This means that the operation ensures that all contacts are in the position corresponding to the activating device. | This symbol shall be used to indicate that the positive operation of a mechanical device in the direction shown is ensured or is required. This means that the operation ensures that all contacts are in the position corresponding to the activating device. | Done
A00069 | Remove unnecessary <br> tags. No symbol 07-08-07.
| If contacts are shown linked, the symbol shall apply to all the linked contacts unless otherwise indicated (see symbol 07-08-07). | If contacts are shown linked, the symbol shall apply to all the linked contacts unless otherwise indicated (see symbol 07-08-07). | Done
A00087 | Qualifying symbols may be shown inside the general symbol to indicate particular types of starters. See symbols S00300, S00302 and S00303. | Qualifying symbols may be shown inside the general symbol to indicate particular types of starters. See symbols S00301, S00302 and S00303. | Done
A00099 | Add a <br> tag.
| 1. The asterisk (*) shall either be replaced by the symbol for the coupling medium or be omitted. 2. X and Y shall either be replaced by the appropriate indications for the quantities concerned or be omitted. | 1. The asterisk (*) shall either be replaced by the symbol for the coupling medium or be omitted. 2. X and Y shall either be replaced by the appropriate indications for the quantities concerned or be omitted. | Done
A00148 | Add a <br> tag.
| This symbol may also be used for a remote instrument, which repeats a reading transmitted from an integrating meter. For example, see S00941. This symbol may be combined with that for a recording instrument to represent a combined instrument. For example, see S00944. | This symbol may also be used for a remote instrument, which repeats a reading transmitted from an integrating meter. For example, see S00941. This symbol may be combined with that for a recording instrument to represent a combined instrument. For example, see S00944. | Done
A00151 | In edition 2, There was an additional illustration. But, nothing in the Database and there is no change request. Add an illustration file A00151Illsutration.gif. |  | Not accepted, see comment to note A00042
A00155 | Remove unnecessary <br> tags.
| For transmission systems (FDM) the order of the group to which the pilot refers, for example: group, supergroup, mastergroup or supermastergroup, may be indicated by adding the respective number 1, 2, 3 or 4 of oblique strokes. | For transmission systems (FDM) the order of the group to which the pilot refers, for example: group, supergroup, mastergroup or supermastergroup, may be indicated by adding the respective number 1, 2, 3 or 4 of oblique strokes. | Done
A00161 | Remove unnecessary <br> tags.
| The division of a band into channels, groups, etc., may be shown by adding vertical lines. | The division of a band into channels, groups, etc., may be shown by adding vertical lines. | Done
A00169 | Remove unnecessary <br> tags.
| The step from the low-resistance to the high-resistance state is reached by making the electrode marked with the step-function symbol the anode | The step from the low-resistance to the high-resistance state is reached by making the electrode marked with the step-function symbol the anode. | Done
A00172 | Remove an unnecessary <br> tag.
| If desired, the direction of rotation of the discharge may be shown by an arrow. | If desired, the direction of rotation of the discharge may be shown by an arrow. | Done
A00175 | Remove an unnecessary <br> tag between "once" and "at every".
| Respective contacts close once at every unit (10 0), ten (10 1), hundred (10 2), thousand (10 3) events registered by the counter | Respective contacts close once at every unit (10 0), ten (10 1), hundred (10 2), thousand (10 3) events registered by the counter | Done
A00176 | Remove unnecessary <br> tags.
| Junction influences a semiconductor layer by means of an electric field, for example in a junction field effect transistor | Junction influences a semiconductor layer by means of an electric field, for example in a junction field effect transistor | Done
A00184 | Remove an unnecessary <br> tag between "reverse" and "blocking".
| This symbol is used to represent a reverse blocking triode thyristor, if it is not necessary to specify the type of gate. | This symbol is used to represent a reverse blocking triode thyristor, if it is not necessary to specify the type of gate. | Done
A00220 | Remove an unnecessary <br> tag between "indicate a" and "transmitting".
| Symbol S00102 or S00103 is used to indicate a transmitting or receiving radio station. For examples of use, see symbols S01126 to S01130 | Symbol S00102 or S00103 is used to indicate a transmitting or receiving radio station. For examples of use, see symbols S01126 to S01130. | Done
A00224 | Remove an unnecessary <br> tag.
| Z may be replaced by the appropriate lumped circuit symbol. | Z may be replaced by the appropriate lumped circuit symbol. | Done
A00242 | Revise for S00992. This application note is duplicated. See A00257.
| If it is desirable to indicate that the equalization refers to the time derivative of "phi", "phi" may be replaced by "phi dot". | Application example: Trunking diagram for a switching system which consists of two marking stages, ABC or ABCD and E, EF or EFG, interconnected by other equipment represented by the squares. Calls are routed as follows: 1.) incoming calls via DCBA; 2.) calls between subscribers connected to the same exchange via ABC, EF and CBA; 3.) outgoing calls via ABC and either E, EF or EFG. See A00242ExampleEN.gif. | The application notes A00242 and A00243 are replaced by A00244. A00244 have been updated.
| A00242ExampleEN.gif |  | Not accepted (not applicable)
S00992 | Application notes
| A00196, A00197, A00198, A00199, A00257 | A00196, A00197, A00198, A00199, A00242 | Not changed (obsolete symbol)
A00245 | Add an illustration file. In the earlier publication, which is edition 2, these illustrations were indicated. |  | Not accepted, see comment to note A00042
| The second is the use of a specific symbol consisting of a rectangle containing a figure derived from the input/output characteristic in the following manner: a) The axes are deleted, but the origin is indicated by a short vertical stroke representing the y?axis. | The second is the use of a specific symbol consisting of a rectangle containing a figure derived from the input/output characteristic in the following manner (A00245Illustration.pdf): a) The axes are deleted, but the origin is indicated by a short vertical stroke representing the y-axis. | Done (y-axis)
A00251 | A00251Example.pdf
| The operationg device can be turned in the clockwise direction without limitation and may be turned in the counter-clockewise direciton only between positions 3 and 1 | The operationg device can be turned in the clockwise direction without limitation and may be turned in the anticlockewise direciton only between positions 3 and 1 | Not accepted. Both counterclockwise and anticlockwise are useful words. Accepted - anticlockwise (UK english) will be used
A00253 | Six-position rotary drum switch with 5 terminals, constructed as shown in drawing A00253Example.pdf below: The symbols (+ - o) in the table indicate the terminals that are connected together at any position (restposition or intermediate position) of the switch, i.e. terminals having the same indicating symbols, for example +, are interconnected. Where additional symbols are required, the characters available on a typewriter should be used, for example x, =. | Six-position rotary drum switch with 5 terminals, constructed as shown in drawing A00253Example.pdf below: The symbols (+ - o) in the table indicate the terminals that are connected together at any position (restposition or intermediate position) of the switch, i.e. terminals having the same indicating symbols, for example +, are interconnected. Where additional symbols are required, the characters available on a typewriter should be used, for example x, =. | Not accepted, see comment to note A00042 Accepted, will be changed to "computer keybord (en)"
A00257 | A00257Ex.pdf looks like just scaned data from the earlier publication same as application notes which were maintained by PT32. In addition, there are two illustrations for S00992 and S00993 on two pages in the file. They should one by one in each file. Devide into two application notes and attached files using A00242, which is duplicated, for S00992 and A00257 for S00993.
| Application example: Trunking diagram for a switching system. See A00257Ex.pdf. | Application example: Trunking diagram of a switching system showing three switching stages: 1.) preselection stage A; 2.) route selection stage B or BC; 3.) final selection stage D. See A00257ExampleEN.gif. | Not accepted, see comment to note A00042
A00257ExampleEN.pdf
A00269 | Links to the attached files are incorrect. "EN" means English version and "FR" means French version.
| A00269_Illustration_a_EN.pdf | English version | Done
| A00269_Illustration_a_FR.pdf | A00269_Illustration_a_EN.pdf A00269_Illustration_b_EN.pdf
French version
A00269_Illustration_a_FRpdf A00269_Illustration_b_FRpdf
A00275 | Add a <br> tag.
| Non-logic connections and signal-flow indicators, internal pull-down and internal pull-up 1 Symbols S01748 (13-04-01) through S01751 (13-04-04) may be used to denote an input or an output carrying analogue or digital signals respectively. | Non-logic connections and signal-flow indicators, internal pull-down and internal pull-up 1 Symbols S01748 (13-04-01) through S01751 (13-04-04) may be used to denote an input or an output carrying analogue or digital signals respectively. | Done
A00276 | Correect links.
| A00276_Table_EN.pdf A00276_Table_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00276_Table_EN.pdf
French version
A00276_Table_FR.pdf
A00279 | Replace the graphical file and add a French version with change of file names.
| A00279_Illustration.gif | A00279_Illustration_EN.gif | Not accepted, see comment to note A00042 Accepted to use EN and FR illustrations
A00279_Illustration_FR.gif
A00283 | Correect links.
| A00283_Illustration_EN.pdf A00283_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00283_Illustration_EN.pdf
French version
A00283_Illustration_FR.pdf
A00285 | At output f the label set has effect if the mode is not 0, so output f is negated (if c = 1) in modes 1, 2 and 3. In mode 0 the label set has no effect so the output stands at its normally defined state. In this example 0,4 is equivalent to (1/2/3) 4. | At output f the label set has effect if the mode is not 0, so output f is negated (if c = 1) in modes 1, 2 and 3. In mode 0 the label set has no effect so the output stands at its normally defined state. In this example 0‎‎(with a macron),4 is equivalent to (1/2/3) 4. | Done
A00289 | 1.3 If an input exerts more than one function or has more than one set of labels of affecting inputs, the indications of these functions or these sets may be shown on different input lines, which must be connected together outside the outline (see examples S01619 (12-33-07), 12-49-11, S01702 (S01702 (12-49-15))). | 1.3 If an input exerts more than one function or has more than one set of labels of affecting inputs, the indications of these functions or these sets may be shown on different input lines, which must be connected together outside the outline (see examples S01619 (12-33-07), S01698 (12-49-11), (S01702 (12-49-15)). | Done
| A00289_Illustration_a_EN.pdf A00289_Illustration_a_FR.pdf A00289_Illustration_b_EN.pdf A00289_Illustration_b_FR.pdf A00289_Illustration_c.pdf A00289_Illustration_d.pdf A00289_Illustration_e.pdf A00289_Illustration_f.pdf A00289_Illustration_g.pdf A00289_Illustration_h.pdf A00289_Illustration_j.pdf A00289_Illustration_k_EN.pdf A00289_Illustration_k_FR.pdf | English version
|  | A00289_Illustration_a_EN.pdf A00289_Illustration_b_EN.pdf A00289_Illustration_c.pdf A00289_Illustration_d.pdf A00289_Illustration_e.pdf A00289_Illustration_f.pdf A00289_Illustration_g.pdf A00289_Illustration_h.pdf A00289_Illustration_j.pdf A00289_Illustration_k_EN.pdf | Not accepted, attachments cannot be grouped
French version
A00289_Illustration_a_FR.pdf A00289_Illustration_b_FR.pdf A00289_Illustration_c.pdf A00289_Illustration_d.pdf A00289_Illustration_e.pdf A00289_Illustration_f.pdf A00289_Illustration_g.pdf A00289_Illustration_h.pdf A00289_Illustration_j.pdf A00289_Illustration_k_FR.pdf
A00296 | Correct Links. Files are incorrect.
| A00289_Illustration_a_EN.pdf A00289_Illustration_a_FR.pdf A00289_Illustration_b_EN.pdf A00289_Illustration_b_FR.pdf A00289_Illustration_c.pdf A00289_Illustration_d.pdf A00289_Illustration_e.pdf A00289_Illustration_f.pdf A00289_Illustration_g.pdf A00289_Illustration_h.pdf A00289_Illustration_j.pdf A00289_Illustration_k_EN.pdf A00289_Illustration_k_FR.pdf | English version | Done (updated references)
A00296_Example_a_EN.pdf A00296_Illustration_b_EN.pdf A00296_Illustration_c.pdf A00296_Illustration_d_EN.pdf A00296_Illustration_e.pdf A00296_Illustration_f_EN.pdf A00296_Illustration_g_EN.pdf A00296_Illustration_h_EN.pdf A00296_Illustration_j_EN.pdf
French version
A00296_Example_a_FR.pdf A00296_Illustration_b_FR.pdf A00296_Illustration_c.pdf A00296_Illustration_d_FR.pdf A00296_Illustration_e.pdf A00296_Illustration_f_FR.pdf A00296_Illustration_g_FR.pdf A00296_Illustration_h_FR.pdf A00296_Illustration_j_FR.pdf
A00296 | A00296_Illustration_a_EN.gif
Done
A00296_Illustration_a_FR.gif
Done
A00296_Illustration_j_FR.gif
Done
A00309 | No French version. Change the filename and add a French version.
| A00309_diagram.gif | A00309_diagram_EN.gif | Done
|  | A00309_diagram_FR.gif | Done
Not in French.
A00312 | A00312_graphic_FR.gif
Done
A00323 | Correct Links.
| A00323_Illustration_EN.pdf A00323_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00323_Illustration_EN.pdf
French version
A00323_Illustration_FR.pdf
A00325 | Correct Links.
| A00325_Illustration_EN.pdf A00325_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped (.dpf changed to .pdf)
A00325_Illustration_EN.pdf
French version
A00325_Illustration_FR.pdf
A00327 | Correct Links.
| A00327_Illustration_EN.pdf A00327_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00327_Illustration_EN.pdf
French version
A00327_Illustration_FR.pdf
A00335 | Correct Links.
| A00335_a_EN.pdf A00335_b_EN.pdf A00335_a_FR.pdf A00335_b_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00335_a_EN.pdf A00335_b_EN.pdf
French version
A00335_a_FR.pdf A00335_b_FR.pdf
A00336 | Correct Links.
| A00336_Illustration_EN.pdf A00336_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped (correction)
A00336_Illustration_EN.pdf
French version
A00336_Illustration_FR.pdf
A00340 | Correct Links.
| A00340_Illustration_EN.pdf A00340_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped (correction)
A00340_Illustration_EN.pdf
French version
A00340_Illustration_FR.pdf
A00343 | Correct Links.
| A00343_Illustration_EN.pdf A00343_Illustration_FR.pdf | English version | Not accepted, attachments cannot be grouped (correction)
A00343_Illustration_EN.pdf
French version
A00343_Illustration_FR.pdf
A00344 | Correct Links.
| A00344_diagram_EN.pdf A00344_diagram_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00344_diagram_EN.pdf
French version
A00344_diagram_FR.pdf
A00345 | Correct Links.
| A00345_diagram_EN.pdf A00345_diagram_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00345_diagram_EN.pdf
French version
A00345_diagram_FR.pdf
A00346 | Correct Links.
| A00346_diagram_EN.pdf A00346_diagram_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00346_diagram_EN.pdf
French version
A00346_diagram_FR.pdf
A00347 | Correct Links.
| A00347_Graphic_EN.pdf A00347_Graphic_FR.pdf | English version | Not accepted, attachments cannot be grouped
A00347_Graphic_EN.pdf
French version
A00347_Graphic_FR.pdf