CHANGE REQUEST	

Request identity number:	
C00241	

Type of request:	
Technical change	

Request status level:	
For evaluation	

Proposal:	
Modify graphical presentation, title and description of graphical symbol S00470 

Reason:	This change request is part of MT 60617 recommendation to harmonize graphical symbol family "switches for installation diagrams" to make all titles, graphical presentations, descriptions, application notes to be consistent and help users of symbols to choose right symbols particular purpose. 

During the preparation of this proposal MT 60617 was consulted.

FI NC propose to replace graphical symbol S00470 by following new graphical symbol	

Requested by:	
Arto Sirviö
arto.sirvio@sesko.fi
FI	

SYMBOL	

Symbol identity number:	
S01905	
Status:	
Proposed	

Drawing:		

Earlier published in:	
.	
Not applicable 	

Name:	
EN	
Double single pole switch
Interrupteur double unipolaire 	

Keywords:	
EN	
installations in buildings, switches	

Applies:

Application note:		 
S00466

A00266, A00XXX	
Application class:		Installation diagrams	
Function class:		Q Controlled switching or varying, 
S Converting a manual operation into a signal	
Shape class:

Replacing:

		Circles, Lines

S00470

APPLICATION NOTE	

Note identity number:	
A00360	
Status:	
Proposed 	
Note type:	General			

Note (EN):

Graphical symbol S00470, for use in installation diagrams, represents a device (switch) which has double actuators. The function of such device is illustrated in attached File

See Circuit diagram presentation of symbol S00470: A00360 Illustration.

A00360 Illustration.

Applies to: S01905