CHANGE REQUEST	

Request identity number:	
C00251   part 1	

Type of request:	
Editorial change	

Request status level:	
For evaluation	

Proposal:	
Modify title and description of graphical symbol S00469 

Reason:	This change request is part of MT 60617 recommendation to harmonize graphical symbol family "switches for installation diagrams" to make all titles, graphical presentations, descriptions, application notes to be consistent and help users of symbols to choose right symbols particular purpose. 

During the preparation of this proposal MT 60617 was consulted.

FI NC propose to modify S00469 as highlighted below	

Requested by:	
Arto Sirviö
arto.sirvio@sesko.fi
FI	

SYMBOL	

Symbol identity number:	
S00469	
Status:	
Standard	

Drawing:		

Earlier published in:	
.	
IEC 60617-11 (ed.2.0) 11-14-04 	

Name:	
EN	
Two pole switch	

Keywords:	
EN	
installations in buildings, switches	

Applies:

Application note:		 
S00466

A00266, A00365	
Application class:		Installation diagrams	
Function class:		Q Controlled switching or varying, 
S Converting a manual operation into a signal	
Shape class:

		Circles, Lines

APPLICATION NOTE	

Note identity number:	
A00365	
Status:	
Proposed 	
Note type:	General			

Note (EN):
Graphical symbol S00469, for use in installation diagrams, represents a device (switch) which has one actuator and two contacts. The function of such device is illustrated in attached File

See Circuit diagram presentation of symbol S00469: A00365 Illustration
.

Circuit diagram presentation on symbol S00469

Applies to: S00469