| CHANGE REQUEST |  |
| --- | --- |
| Request identity number: | C00201A |
| Applies to: | S01865 |
| Type of request: | Technically new |
| Request status level: | For evaluation |
| Proposal: | Introduce a new symbol for single pole foot switch |
| Reason: | In IEC 60617 DB there are graphical symbols for installation diagrams for switches and push button which are normally operated by hand. However there are applications (for example emergency stop for machinery, hold-up alarm trigger device, people with disabilities control room lights, etc.), where switches are operated by foot only. So it is not trivial how to construct such a symbol. Therefore this concept should have internationally standardized graphical symbol suitable for installation diagrams. FI NC propose to standardize a new symbol for foot switch for document kind “Installation diagrams”. In our proposal we take symbols S00176 and S00466 and combine it to have following graphical presentation. |
| Requested by: | Arto Sirviö arto.sirvio@sesko.fi FI |

| SYMBOL |  |  |  |
| --- | --- | --- | --- |
| Symbol identity number: | S01865 | Status: | Proposed |

| Drawing: |  |  |
| --- | --- | --- |
| Earlier published in: | . | Not applicable |
| Name: | EN | Foot switch, switch operated by foot |
| Keywords: | EN | installations in buildings, switches, emergency switches, operated by foot |
| Applies: |  | S00176, S00475 |
| Application notes: |  | none |
| Application class: |  | Installation diagrams |
| Function class: |  | Q Controlled switching or varying, S Converting a manual operation into a signal |
| Shape class |  | Circles, Lines |