C00203

S01867

| Drawing: |  |  |
| --- | --- | --- |
| Earlier published in: | . | Not applicable |
| Name: | EN | Double two-way single pole switch |
| Alternative names: Keywords: | EN EN | Double change over single pole switch installations in buildings, switches |
| Applies: |  | S00471 |
| Application notes: |  | A00266, A00372 |
| Application class: |  | Installation diagrams |

| APPLICATION NOTE |  |  |  |
| --- | --- | --- | --- |
| Note identity number: | A00372 | Status: | Proposed |
| Note type: | General |  |  |

Note (EN):

Graphical symbol S01867 represent device (switch) in installation diagrams which has two actuators. Function of such device is illustrated in figure 1.

Figure 1. Circuit diagram presentation on symbol S01867

Applies to: S01867