CHANGE REQUEST	

Request identity number:	
C00249	

Type of request:	
Technically new	

Request status level:	
For evaluation	

Proposal:	
Introduce a new symbol for product: 3 phases and 1 phase socket outlet

Reason:	In IEC 60617 DB there are several standardized graphical symbols for installation diagrams for representing product power outlets and telecommunication socket outlets. But there is no symbol for the kind of product which has different outlets for example 3 phase and 1 phase outputs. These kind of components which have multiple different type of outlets are often used in building and industrial installations. 

During the preparation of this proposal MT 60617 was consulted.

FI NC propose to standardize a symbol for 3 phase and 1 phase socket outlet 	

Requested by:	
Arto Sirviö
arto.sirvio@sesko.fi
FI	

GRAPHICAL SYMBOL	

Symbol identity number:	
S01897
	
Status:	
Proposed
Ref S01892	

Drawing:		

Earlier published in:	
.	
Not applicable 	

Name:	
EN	
3 phase and 1 phase socket outlet 
Socle de prise de courant (puissance) sorties de 3 phases et de 1 phase	

Keywords:

Application notes:	
EN

installations in buildings, socket outlets 

A00266, A00XXX	
Applies		S00460	
Application class:		Installation diagrams	
Function class:		X Connecting	
Shape class		Half-circles, Lines, Depicting shapes	

APPLICATION NOTE	

Note identity number:	
A00XXX	
Status:	
Proposed	

If there is no possibility for misinterpretation then marking of 1 phase socket outlet can be omitted.